IIPM SCHOOL OF ENGINEERIN AND TECHNOLOGY

LESSON PLAN:2022-23

Sub                             :     Electrical Equipment in Mines                              Semester-4th

Faculty name             :     Mausumibala panda

Duration 	        :    60 hours

Objective:-

- Various types of electrical cables used in Mines.

- Various types  circuit breakers  circuit diagram of gate-end box and drill panel.

- Different types of protective system.

- Different types of electric braking.

- Flame proof apparatus and intrinsically safe apparatus.

- underground signaling arrangement.

Learning Outcome    :Understanding of basics of the Electrical sources,Protective system and their uses.

| Sl.No | Chapter | Proposed Week for Teaching | Lecture No. | Sub. Topic | Important Teaching Points | Content Source |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | I | 1st | 1 | INTRODUCTION | 1.Electrical cables-Introduction 2.Classification of Cables. | Electrical Power System V K Mehta |
| 2 |  |  | 2 |  | 1.Constructional features of high tension cables. 2. low-tension Cables |  |
| 3 |  |  | 3 |  | 1.Size of cables 2. Their uses. |  |
| 4 |  |  | 4 |  | 1.procedures of cable laying at surface, underground roadway & in shafts. 2.Cable joint box mining type. |  |
| 5 | II | 2nd | 1 |  | Assignment |  |
| 6 |  |  | 2 | Protective Systems | Protective Systems- 1.Introduction 2.Fuse-Definition | Electrical Power System V K Mehta |
| 7 |  |  | 3 |  | 1.Fuse Materials 2. Rewireable Fuse -Advantages -Disadvantages |  |
| 8 |  |  | 4 |  | 1 HRC Fuse -Advantages -Disadvantages 2.Uses of fuse |  |

| 9 |  | 3rd | 1 | Protective Systems | 1.Circuit Breakers-Definition -Air Circuit Breaker. 2. Minimum Oil Circuit Breaker (MOCB) -Advantages -Disadvantages | Electrical Power System V K Mehta |
| --- | --- | --- | --- | --- | --- | --- |
| 10 |  |  | 2 |  | 1.Bulk Oil Circuit Breaker (BOCB). 2.Air Blast Circuit Breaker -Construction and Principle -Advantages -Disadvantages |  |
| 11 |  |  | 3 |  | 1..SF6 Circuit Breaker -Advantages -Disadvantages 2.Essential qualities of a good protective system. |  |
| 12 |  |  | 4 |  | 1.plunger, induction & direction over current, over loads. |  |
| 13 |  | 4th | 1 |  | 1.No volt and latching relay, frequency relay and Earth leakage relay. 2. Construction,Principle |  |
| 14 |  |  | 2 |  | 1.Plunger type relay 2.Induction type relay 3. Directional over current relay -Construction and Principle |  |
| 15 |  |  | 3 |  | 1. protection of transformer by differential relay. |  |
| 16 |  |  | 4 |  | 1.Functions & operation of drill panel. 2.Earthing system in mines. 3.Voltage limit | Electrical Equipment in Mines H.Cotton |
| 17 |  | 5th | 1 |  | 1.General principle of working-basis remote control circuit & various protective devices of Gate-End Box. |  |
| 18 |  |  | 2 |  | Assignment |  |
| 19 |  |  | 3 |  | Class test |  |
| 20 | III |  | 4 | Transformer | 1.Transformer-Construction working Principle. 2.E.M.F Equation of Transformer. | Electrical Equipment in Mines H.Cotton |
| 21 |  | 6th | 1 |  | 1.Ideal Transformer 2.Practical Transformer Difference between them 3.Transformation ratio |  |
| 22 |  |  | 2 |  | 1. Practical Transformer on no load condition -Phasor Diagram |  |
| 23 |  |  | 3 |  | 1.Practical Transformer on load Condition 2.Phasor diagram |  |
| 24 |  |  | 4 |  | 1.Shifting Impedance of Transformer |  |
| 25 |  | 7th | 1 |  | 1.No load test of Transformer |  |
| 26 |  |  | 2 |  | 1.Short Circuit test of Transformer 2.Rating of Transformer |  |
| 27 |  |  | 3 |  | Assignment |  |
| 28 |  |  | 4 |  | Class Test |  |
| 29 | IV | 8th | 1 | Industrial drives | 1.Industrial drives-Introduction. 2.DC Motor-Introduction 3.Types of DC Motor | Electrical Equipment in Mines H.Cotton |
| 30 |  |  | 2 |  | 1. Characteristics of DC Motor -Speed current Characteristics - Speed Torque Characteristics |  |
| 31 |  |  | 3 |  | 1.Characteristics of AC Motor 2. selection of motors for mining use. |  |
| 32 |  |  | 4 |  | Assignment |  |
| 33 | V | 9th | 1 | Electric braking used in Mines | 1.Electric braking-Introduction 2.Types of Braking | Electrical Equipment in Mines H.Cotton |
| 34 |  |  | 2 |  | 1-Regenerative braking -Definition 1.Advantages and Disadvantages of Regenerative braking |  |
| 35 |  |  | 3 |  | 1.Magnetic braking. -Definition 1.Advantages and Disadvantages of Magnetic braking |  |
| 36 |  |  | 4 |  | Assignment |  |
| 37 |  | 10th | 1 |  | Doubt Clear class |  |
| 38 |  |  | 2 |  | Class Test |  |
| 39 | VI |  | 3 | Flame proof & intrinsically safe apparatus | 1.Flame proof apparatus -Definition -Uses | Electrical Equipment in Mines H.Cotton |
| 40 |  |  | 4 |  | 1.Safety features of flame proof Apparatus. |  |
| 41 |  | 11th | 1 |  | 1.Intrinsically safe apparatus - Definition -Uses |  |
| 42 |  |  | 2 |  | 1.Safety features of flame proof intrinsically safe Apparatus |  |
| 43 |  |  | 3 |  | Assignment |  |
| 44 |  |  | 4 |  | Class Test |  |
| 45 | VII | 12th | 1 |  | 1.signals & shaft signal. -Definition -Uses |  |
| 46 |  |  | 2 | Underground signaling arrangement | 1.communication system in U/G mines. -Uses | Electrical Equipment in Mines H.Cotton |
| 47 |  |  | 3 |  | 1.Point to point communication -Application 2.Intercom system/Telephone 3.Cordless system |  |
| 48 |  |  | 4 |  | Assignment |  |
| 49 |  | 13th | 1 |  | Class test |  |
| 50 | VIII |  | 2 | Sensors & their applications | 1.Sensors –Introduction 2.Types of sensors | Electrical Equipment in Mines H.Cotton |
| 51 |  |  | 3 |  | 1.Position sensors 2.Pressure sensors 3.Temperature sensors |  |
| 52 |  |  | 4 |  | 1Force sensors 2.Fluid property sensor |  |
| 53 |  | 14th | 1 |  | 1. Vibration sensor 2.Humidity sensor |  |
| 54 |  |  | 2 |  | Assignment |  |
| 55 | IX |  | 3 | Battery locomotive and Electric LHD | 1.Thyrister-Introduction 2.VI Characteristics of Thyrister | Electrical Equipment in Mines H.Cotton |
| 56 |  |  | 4 |  | 1.Battery locomotive-Introduction |  |
| 57 |  | 15th | 1 |  | 1.Elecrical LHD-Introduction 2.Uses |  |
| 58 |  |  | 2 |  | 1.Electric mine phone. Introduction 2.Uses |  |
| 59 |  |  | 3 |  | Assignment |  |
| 60 |  |  | 4 |  | Class test |  |
| 61 |  | 16th |  |  | Doubt clearing class |  |