IIPM SCHOOL OF ENGINEERIN AND TECHNOLOGY

LESSON PLAN:2023-24

Sub                             :      BASIC ELECTRICAL ENGINEERING                    Semester-2ND

Faculty name             :	    Mausumibala panda

Duration 	          :      30 hours

Objective 	          :

- To be familiar with A.C Fundamental and circuits .

- To be familiar with basic principle and application of energy conversion devices

- . To be familiar with generation of Electrical power .

- To be familiar with wiring and protective device

- . To be familiar with calculation and commercial Billing of electrical power & energy .

- To have basic knowledge of various electrical measuring instruments & conservation of electrical energy.

Learning Outcome    :

- The basic properties of electrical elements and solve DC Circuit analysis.

- The fundamental behaviour of  AC Circuits and Solve AC Circuit problems.

| Sl.No | Chapter | Proposed Week for Teaching | Lecture No. | Sub. Topic | Important Teaching Points | Content Source |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | I | 1ST | 1 | FUNDAMENTALS | 1.Fundamentals 2.Concept of current flow. 3.Concept of source and load. | ABC of Electrical Engineering by Jain & Jain |
| 2 |  |  | 2 |  | 1. Ohm’s law and concept of resistance. 2.Relation of V, I & R in series circuit. 3.Relation of V, I & R in parallel circuit. |  |
| 3 |  |  | 3 |  | 1.Division of current in parallel circuit. 2. Effect of power in series & parallel circuit. 3.Numericals |  |
| 4 |  |  | 4 |  | 1.Kirchhoff’s Laws -Kirchhoff’s Current law. -Kirchhoff’s Voltage Law. 2.Numericals |  |
| 5 | II | 2ND | 1 | A.C. THEORY | 1. Generation of alternating emf. 2.Difference between D.C. & A.C. |  |
| 6 |  |  | 2 |  | 1.Definition- Amplitude, instantaneous value, cycle, Time period, frequency, phase angle, phase difference. | ABC of Electrical Engineering by Jain & Jain |
| 7 |  |  | 3 |  | 1.RMS value, Average value, Amplitude factor & Form factor. |  |
| 8 |  |  | 4 |  | 1.Represent AC values in phasor diagrams. 2.AC through pure resistance, inductance & capacitance. |  |
| 9 |  | 3rd | 1 |  | 1. Concept of Power and Power factor. 2.Impedance triangle and power triangle |  |
|  |  |  | 2 |  |  |  |
|  |  |  | 3 |  |  |  |
| 10 |  |  |  |  | 1.Numericals |  |
|  |  |  | 4 |  |  |  |
| 11 |  |  |  |  | Assignment |  |
| 12 | III | 4th | 1 | GENERATION OF ELECTRICAL POWER | 1.Introduction 2.Block diagram of Thermal power station Advantages,Disadvanages | ABC of Electrical Engineering by Jain & Jain |
| 13 |  |  | 2 |  | 1.Hydroelectric Power station. Advantages,Disadvanages |  |
| 14 |  |  | 3 |  | 1.Nuclear power station. Advantages,Disadvanages |  |
| 15 |  |  | 4 |  | Assignment |  |
| 16 | IV | 5th | 1 | CONVERSION OF ELECTRICAL ENERGY | 1.Introduction of DC machines. 2.Main parts of DC machines. | ABC of Electrical Engineering by Jain & Jain |
| 17 |  |  | 2 |  | 1Principle of operation of DC generator. 2. EMF equation of DC generator. |  |
| 18 |  |  | 3 |  | 1.Classification of DC generator. 3.Numericals |  |
| 19 |  |  | 4 |  | 1.Uses of different types of DC generators & motors. 2. Types and uses of single phase induction motors. 3.Types and uses of 3-phase inductionmotors. |  |
| 20 |  | 6th | 1 |  | 1.Principle of operation of DC motor. 2. Classification of DC motor. |  |
| 21 | V |  | 2 | WIRING AND POWER BILLING | 1.Wiring-Introduction 2.Types of wiring for domestic installations. | ABC of Electrical Engineering by Jain & Jain |
| 22 |  |  | 3 |  | 1.Layout of household electrical wiring (single line diagram showing all the important component in the system). |  |
| 23 |  |  | 4 |  | 1.The basic protective devices used in house hold wiring. 2.Calculate energy consumed in a small electrical installation |  |
| 24 |  | 7th | 1 |  | Numericals |  |
| 25 | VI |  | 2 | MEASURING INSTRUMENTS | 1.Different uses of PMMC type of instruments (Ammeter & Voltmeter). 2. Different uses of MI type of instruments (Ammeter & Voltmeter) | ABC of Electrical Engineering by Jain & Jain |
| 26 |  |  | 3 |  | 1.connection diagram of A.C/ D.C Ammeter, voltmeter, energy meter and wattmeter. (Single phase ). |  |
| 27 |  |  | 4 |  | Assignment |  |
| 28 | VII | 8th | 1 | CONSERVATION OF ELECTRICAL ENERGY | 1.Introduction 2. Concept of Lumen | ABC of Electrical Engineering by Jain & Jain |
| 29 |  |  | 2 |  | 1.Different types of Lamps 2.Filament, fluorescent lamp 3. Mercury Vapour lamp( Construction and Principle) |  |
| 30 |  |  | 3 |  | 1.Sodium Vapour lamp 2.Neon, LED bulb Construction and Principle |  |
| 31 |  |  | 4 |  | 1.Star rating of home appliances (Terminology, Energy efficiency, Star rating Concept) |  |
| 32 |  |  | 1 |  | Assignment |  |